## Sheet1
Type of Sink |  | Total Sinks* |  | Multiply by |  | Subtotal | GPM
Hand sink (kitchen, bar, and restroom) . . . . . . . . . . . |  |  | x | 0.5 | = | 0 | GPM
Preparation sink (produce and meat) . . . . . . . . . . . . . |  |  | x | 0.5 | = | 0 | GPM
Blender and/or dump sink . . . . . . . . . . . . . . . . . . . |  |  | x | 0.5 | = | 0 | GPM
Mop sink . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | x | 0.5 | = | 0 | GPM
Kitchen ware washing sink . . . . . . . . . . . . . . . . . |  |  | x | 2 | = | 0 | GPM
Bar ware washing sink . . . . . . . . . . . . . . . . . . . |  |  | x | 2 | = | 0 | GPM
Commercial dish machine . . . . . . . . . . . . . . . . . |  | check specification sheet** |  |  | = |  | GPM
Clothes washer (9# and 12#) . . . . . . . . . . . . . . . . |  | check specification sheet** |  |  | = |  | GPM
Other . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | [6 empty] | GPM
|  |  |  | Total | = | 0 | GPM
Gallons Per Minute provided by proposed unit |  | GPM
(at 70°F rise)
Does the proposed model meet the demand? | Yes |  |  | No
* Total sinks, not basins (one three-compartment ware washing sink = 1)
**Food facilities that choose to install a commercial dish machine and/or a clothes washer which utilize large quantities of hot water may be required to provide instantaneous water heaters exclusively for these pieces of equipment.